Short Transmission Line Simulation Report

MATLAB/Simulink Performance Analysis under 381 MVA Lagging Load

Author: Ridho Nur Aulia (24364026)

Program: Electrical Engineering

Institution: Universitas Negeri Padang

Course: Power Systems & Electronics II

# Executive Summary & Objective

This report presents the design, mathematical analysis, and MATLAB/Simulink simulation of a 3-phase short transmission line 220extkV,60extHz,40extkm.The primary objectives are:

  - To model short-line characteristics by neglecting shunt capacitance (Cpprox0).

To evaluate voltage regulation, power losses Pextloss,Qextloss,andsystemefficiencyη.

  - To verify the required sending-end voltage compensation for maintaining nominal load voltage.

# System Configuration & Parameters

The transmission system feeds a 3-phase inductive load of 381 MVA at 0.8 power factor lagging under a rated terminal voltage of 220 kV.

Line Parameters (Per Phase):

- Line Length $Lextline$:$40extkm$

- Total Resistance $R$:$0.15 Ω/extkmimes40extkm=6.0 Ω$

- Total Inductance $L$:$1.3263extmH/kmimes40extkm=0.05305extH$

- Inductive Reactance $XL$:$2πimes60imes0.05305extH=20.0 Ω$

- Line Impedance $Z$:$6.0+j20.0 Ω=20.88ngle73.3∘ Ω$

# Analytical Calculation

Step 1: Receiving End Load Breakdown

- Active Power ($PR$): Simescosϕ=381extMVAimes0.8=304.84extMW

- Reactive Power ($Q_R$): $S imes \sin\phi = 381 ext{ MVA} imes 0.6 = 228.63 ext{ MVAR}$

Line Current $I$:$I=rac381extMVA3imes220extkV=1000extARMS$atangle$ϕ=-36.87∘$

Step 2: Sending End Voltage Calculation VS

Using the short line phasor equation: ecVS,ph=ecVR,ph+ecI⋅Z

- ecVR,ph=rac220extkV3=127.02ngle0∘extkV

ecI⋅Z=1000ngle-36.87∘imes20.88ngle73.3∘=20.88ngle36.43∘extkV=16.79+j12.40extkV

- ecVS,ph=127.02+16.79+j12.40=143.81+j12.40=144.33ngle4.93∘extkV

- Line-to-Line Voltage VS,LL:3imes144.33extkVpprox250extkV

# Comparison & Simulation Results

250 kV

SENDING VOLTAGE

17.75 MW

ACTIVE POWER LOSS

94.5%

LINE EFFICIENCY

| Parameter | Sending End (S) | Receiving End (R) | Delta / Loss | Analysis & Physical Meaning |
| --- | --- | --- | --- | --- |
| Voltage (VLL) | 250 kV | 220 kV | -30 kV (-12.0%) | Significant voltage drop due to inline impedance (R+jX). |
| Current I | 1000 A | 1000 A | 0 A (0.0%) | Constant current; typical series connection in short lines. |
| Active Power (P) | 322.59 MW | 304.84 MW | -17.75 MW (-5.5%) | Ohmic copper losses (Pextloss=3I2R). |
| Reactive Power (Q) | 288.81 MVAR | 228.63 MVAR | -60.18 MVAR (-26.3%) | Substantial reactive power absorbed by line inductance. |
| Apparent Power (S) | 433.00 MVA | 381.00 MVA | -52.00 MVA (-12.0%) | Overall capacity needed from generation side. |
| Power Factor (cosϕ) | 0.745 lag | 0.800 lag | -0.055 | Power factor deteriorates at sending end due to XL. |

# Key Findings

  - Voltage Drop Compensation: To ensure the load operates at its rated 220extkV, the source must supply 250extkVto offset the line's 30extkV voltage drop. Setting the source to only 220extkVdrops receiving voltage to pprox190extkV, failing load conditions.

  - Reactive Power Demand: The line inductance absorbs 60.18extMVAR (26.3%reduction), causing a poorer power factor (0.745 lagging) at the generation side.

High Efficiency: Despite heavy loading, the transmission line maintains a strong efficiency of **94.5%**304.84extMW/322.59extMW.

# Conclusion

The MATLAB/Simulink model accurately mirrors theoretical short transmission line dynamics. For short distances where shunt capacitance is negligible, current remains uniform, and active power losses are purely resistive. Voltage boosting at the sending end (250extkV) is mandatory to guarantee steady-state voltage compliance 220extkVat the receiving end.

Short Transmission Line Simulation Report • Generated for Academic Presentation • UNP 2026